## Slide 1: GPS vs IMU Dead Reckoning Experiment
Andrew Tu
EECE 5698 Robotics Sensing and Navigation
Northeastern University

## Slide 2: LCM Over Wireless Connection

## Slide 3: \Noise Characteristic Summary
Most cases: Gaussian error distribution
In case of gyro and accelerometer, need to zero sensor to account for drift error
Mag and Roll/Pitch/Yaw sensor doesn’t matter to much b/c those are relative values
Need to calibrate magnetometer values to account for hard + soft iron distortions

## Slide 4: Noise Characteristics

## Slide 5: Noise Characteristics

## Slide 6: Non Zero Values for Stationary Data

## Slide 7: Eliminating 0 Movement Bias

## Slide 8: Calibrating Magnetometer (Hard + Soft Iron)
Hard Iron Correction: Shift values to center circle around origin
Soft Iron Correction: Scale values to change oval to more circular shape

## Slide 9: Calculated Yaw vs Given Yaw
Integrated gyro data perfectly lines up to the given yaw.
Magnetometer results are skewed from yaw
Since Magnetometer data was more heavily weighted (90%) in the complementary filter, combined results are skewed too.
Skew in magnetometer likely a result of driving over an incline (not account for z error)

## Slide 10: Calculated vs Recorded Acceleration
Scale factor: 1/45 applied to the calculated value
Recorded signal is noisy compared to the values calculated from the gyroscope
Calculated value has slightly greater amplitude than the recorded value.
Calculations will drift over time as a result

## Slide 11: GPS vs Dead Reckoning Trajectories
Scale factor of IMU has factor of 1/45 applied
Drive consisted of two loops
First loop was accurate in terms of scale– errors mainly occurred when turning
Second loop: scale error of 2-3x in distance traveled.
Shape still matches correctly
Result of accumulating errors in drift (second round through, spent a lot of time stuck in traffic)

## Slide 12: Accounting for Stationary Drift Did not improve results
Scale factor: 1/45
Accounted for the bias found in the stationary data collection
Resulting data is still not appropriately scaled (now the larger route is roughly the correct scale but the smaller box is too small)